SECTION 05522 or 118129

Metals or

Facility Fall Protection

sales@edgefallprotection.com

www.edgefallprotection.com

GENERAL

SYSTEM DESCRIPTION

Overhead Fall Protection:

Type: Monorail/Track, Single Point Anchors, or Steel Supports with a Horizontal Lifeline System

System Location: Freestanding or Ceiling Supported

Maximum Weight on system at one time: 310 lbs

Worker’s task while on the system: Workers will work on equipment and will be limited to walking within 15 degrees laterally within either direction of the overhead Fall Protection System. Worker’s will need to perform tasks hands-free.  Worker’s will need to carry heavy objects.  Worker’s will need to ascend and descend the elevated working surface while being tied off.

Type of fall protection required: Fall Arrest or Fall Restraint

Additional components: All attaching devices necessary for X workers.

Insurances required: Commercial Liability and Workers’ Comp

RELATED SECTIONS

Section 03300 - Cast-In-Place Concrete

Section 03400 - Pre-Cast Concrete

Section 05100 – Structural Metal Framing

Section 05400 – Cold Formed Metal Framing

Section 05310 - Metal Deck

Section 06100 – Rough Carpentry

Section 07510 - Built-Up Roofing

Section 07700 - Roof Specialties and Accessories

Section 11010 - Maintenance Equipment

REFERENCES

Occupational Safety & Health Administration (OSHA)

29 CFR 1910.23(c) (1) & 29 CFR 1926.501(b) (1) - Occupational Health and Safety Standards General Industry & Construction: Duty to have fall protection

29 CFR 1926.502(d) (15) (i-ii) - Safety and Health Regulations for Construction: Anchor Design Requirements

29 CFR 1910.66 I(c) (10), I (d) (iv), II (2) - General Industry: Anchor Design Requirements

29 CFR 1910.179: Overhead Gantry Cranes

American National Standards Institute (ANSI)

Z359.0 – Definitions and Nomenclature Used for Fall Protection and Fall Arrest.

Z359.1 – Safety Requirements for Personal Fall Arrest Systems, Subsystems and Components

Z359.2 – Minimum Requirements for a Comprehensive Managed Fall Protection Program

Z359.3 – Safety Requirements for Positioning and Travel Restraint Systems.

Z359.4 – Safety Requirements for Assisted-Rescue and Self-Rescue Systems, Subsystem and Components.

Z359.6 – Specifications and Design Requirements for Active Fall Protection Systems.

Z359.12 – Connecting Components for Personal Fall Arrest Systems

Z359.13 – Personal Energy Absorbers and Energy Absorbing Lanyards

Z359.14 – Safety Requirements for Self-Retracting Devices for Personal Fall Arrest and Rescue Systems.

Materials, Bolting, Finishing: American Society of Testing Materials (ASTM)

A36 - Standard Specification for Carbon Structural Steel.

A500 - Standard Specification for Cold-Formed Welded and Seamless Carbon Steel Structural Tubing in Rounds and Shapes

A53 - Standard Specification for Pipe, Steel, Black and Hot-Dipped, Zinc-Coated, Welded and Seamless

A325 - Standard Specification for Structural Bolts, Steel, Heat Treated, 120/105 ksi Minimum Tensile Strength

A193 - Standard Specification for Alloy-Steel and Stainless Steel Bolting for High Temperature or High Pressure Service and Other Special Purpose Applications

A123 - Standard Specification for Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel Products

A666 - Standard Specification for Austenitic Stainless Steel Sheet, Strip, Plate, and Flat Bar.

American Welding Society (AWS) D1.1/D1 - Structural Welding Code – Steel

Design Standards

American Institute of Steel Construction (AISC) 325-11 [14th ed.] – Steel Construction Manual

National Design Specification (ANSI/NDS) – Wood Construction Manual

International Building Code (IBC) [2012] – Building Design Manual

American Society of Civil Engineers (ASCE/SEI) 7-10 – Minimum Design Loads for Buildings and Other Structures

American Concrete Institute (ACI) 318-11 Building Code Requirements for Structural Concrete.

PERFORMANCE

System shall comply with 1.1 System Description

Performance Requirements

The Overhead Fall Protection System(s) shall provide a secure attachment means to the supporting structure in conjunction with the manufacturer’s requirements or shall attach to an engineered and approved structural support.  The Overhead Fall Protection System(s) shall provide compatible connects with the applicable personal connection equipment. All components shall be designed by the fall protection system Professional or Qualified Person and shall meet the applicable requirements of ANSI and applicable OSHA regulations.

Structural Performance:

Structure supporting Overhead Fall Protection System(s) must be capable of withstanding the design loads as required by governing regulations and codes. Where component design loads are specified herein, they represent design minimum requirements.

All fall protection components shall be designed with a minimum 2:1 safety factor. I would reword this to something like below (feel free to edit as needed):

- “All fall protection components shall be designed with a minimum 2:1 safety factor unless test data is provided by the manufacturer and a qualified person is designing the system.”

DESIGN

Design Requirements

Overhead Fall Protection System(s) shall comply with current applicable OSHA, ANSI, and state regulations and standards.

The Overhead Fall Protection System(s) and any supporting structure shall be certified or installed by a registered installer.

General Requirements:

Overhead Fall Protection System(s) connection to structure shall be designed and installed, under the supervision of a Qualified Person, as part of a complete personal Fall Protection system.

Overhead Fall Protection System(s) shall be used with an appropriate connector/lanyard/SRL to limit the maximum arrest force of the worker. The connector/lanyard/SRL shall have an energy absorber to control or reduce the maximum arrest load on the structure.

The design engineer shall ensure the increased clearance requirements of a deployed connector/lanyard/SRL will not conflict with the required clearance of the system.

The Overhead Fall Protection System(s) shall satisfy the seismic conditions for nonstructural components as described by ASCE/SEI 7 and the most current edition of the IBC.  No exceptions can be taken if the system is required to function for life-safety purposes after an earthquake.

Brackets and supports shall be attached to the structure with appropriate anchors of proper size to adequately support the intended loaded.

The designer shall take into account environmental factors (snow, ice, debris, etc...) when designing the Overhead Fall Protection System(s) such that the system functions properly.

The Overhead Fall Protection System(s) shall comply with design requirements.

Restraint		These systems protect workers from nearby fall hazards by restricting their movements.  The equipment and components can be the same as those used in fall arrest systems, but the performance of a fall restraint system eliminates any potential for impact loading on the user or system components.

Restraint Overhead Fall Protection System(s) shall be designed per ANSI Z359.2 & ANSI Z359.6:

The Overhead Fall Protection System(s) shall Prevent workers from reaching and falling into any open hole or off the edge of a working surface

The Overhead Fall Protection System(s) shall comply with the requirements for fall arrest Overhead Fall Protection System(s) as indicated in this document.

Overhead Fall Protection System(s) may be used in restraint systems; provided that the engineer has determined that the restraint forces will not cause the Overhead Fall Protection System(s) to permit the worker(s) to reach the fall hazard.

The use of fall restraint systems shall be limited to surfaces at or less than a slope of 1:3 from the horizontal. This is so a fall will not result in dynamic loading on the fall restraint system or where the authorized person could end up being suspended vertically from the system.

Arrest		Often, the nature or location of work forbids the use of fall restraint systems.  If so, fall arrest systems are the next best option.  In these systems, the personal protective equipment is configured to allow a fall.  However, the worker’s fall is arrested before striking the ground or other hazardous obstacles.

Fall Arrest Overhead Fall Protection System(s) shall be designed per ANSI Z359.2 & ANSI Z359.6:

The selection, design, and installation of fall arrest Overhead Fall Protection System(s) shall be performed under the supervision of a Qualified Person.

Anchorages designed for fall arrest systems shall have the strength capable of sustaining static loads applied in the directions permitted by the system of at least two times the maximum arresting force.

When more than one user is attached to a Overhead Fall Protection System(s), the load on the system can be determined using either lumped mass or sequential fall calculations as described in ANSI Z359.6 [6.3.6]

The swing fall shall comply with ANSI Z359.6 [5.3]

The clearance safety margin shall comply with ANSI Z359.6 [7.2.6.2]

Where a worker is using a full body harness the force on the worker’s body shall not exceed 8kN / 1800lbs.

Sub-System Requirements

Harnesses and Vertical Lifelines (VLLs) used with the system shall comply with ANSI Z359.1

Connecting Components (carabiners and snaphooks) used with the system shall comply with ANSI Z359.12

Energy Absorbing Lanyards (EALs) used with the system shall comply with ANSI Z359.13

The fall protection system shall be used exclusively for its designed use and shall be marked to prevent other uses.

The design shall take into consideration the potential uses of and loads on the fall protection system, in order to facilitate the prompt rescue of workers who may fall while attached to the system.

Each component of the CFPs shall be full traceable.

SUBMITTALS

Submit under provisions of Section 01300.

Product Data:  Manufacturer's data sheets on each product to be used, including:

Preparation instructions and recommendations.

Storage and handling requirements and recommendations.

Installation methods.

Drawings and Calculations:

Drawings

Show the layout of the system including where the system is located and the complete assembly of all components.

Include a specification of the number, location, and qualifications of workers using the system. (maximum allowable combined weight of users = XXX lbs)

Clearly specify the equipment dimensions, materials, fabrication details, hardware, and installation instructions.

Calculations

Calculations shall be prepared under the supervision of a registered Professional Engineer and Qualified Person

Include a statement defining the type of system and indicating that the CFP attachment design is in accordance with the requirements of ANSI Z359.6

The Professional Engineer who oversaw the design of the system shall affix their professional seal to each drawing and calculation package issued.

Operation and Maintenance Data shall be prepared per ANSI Z359.2 & ANSI Z359.6:

Include complete list of equipment replacement parts; identify each entry with the equipment description and part numbers.

Include technical information for servicing equipment.

Include legible “as-constructed” drawings of the installed system.

Include installation date and system owner’s name and address.

Include detailed operating procedures:

Written by a Qualified or Competent Person.

Identifying the CFP(s) location

Stating any safety precautions that shall be followed during access and egress.

Describing the limitation on use of system: maximum load, designated equipment, required clearance and maximum number of persons permitted to be attached to the system at one time. (maximum allowable combined weight of users = 440 lbs)

Instructions for inspection, maintenance, and retirement of the system and all of its components, including how often inspection and maintenance are to be performed and a description of the qualifications required for persons performing these tasks.

Procedure for inspection:

Required or recommended inspection intervals.

Detailed instruction for inspecting each component of the system.

Description of acceptance or rejection criteria, including retirement criteria, of each component of the system.

Fall protection procedures shall include a requirement that any incidents, including accidents or near misses, be investigated to determine if procedures can be improved.

DELIVERY, STORAGE, AND HANDLING

Deliver materials to the job site in good condition and adequately protected against damage as handrails are a finished product.

Inspect components for damage before signing the receipt from the trucking company. Truck driver must note damaged goods on the bill of lading if damaged product is found

Store products in manufacturer's unopened packaging until ready for installation.

Products to be palletized and labeled by ladder.

PROJECT CONDITIONS

Field Measurements: Where systems are indicated to fit to ladder, check actual dimensions of other construction by accurate field measurements before fabrication.

WARRANTY

Warranty: Provide manufacturer’s limited one year warranty.

PRODUCTS

MANUFACTURERS

    - Acceptable Manufacturer: EDGE Fall Protection, LLC, which is located at 6294 Bury Dr. Eden Prairie, MN 55346. Contact: E-mail: sales@edgefallprotection.com Website: www.edgefallprotection.com Toll Free/Fax: 844-314-1374.

Substitutions:  Not permitted.

Requests for substitutions will be considered in accordance with provisions of Section 01600.

Overhead Fall Protection System(s)

Product Type:

Freestanding Inverted L Monorail Track System

Freestanding Inverted L Horizontal Lifeline System

Freestanding Inverted U Monorail Track System

Freestanding Inverted U Horizontal Lifeline System

Freestanding T-Frame Monorail Track System

Freestanding T-Frame Horizontal Lifeline System

Freestanding Single Swing Arm Assembly

Freestanding or Wall Mounted Fold-Away Monorail Track System

Overhead Ceiling Mounted Monorail Track System

Overhead Ceiling Mounted Horizontal Lifeline System

The system shall be a complete and turnkey solution complying with the performance and design criteria of this document.

The Overhead Fall Protection System(s) shall be Provided by EDGE Fall Protection located at:

6294 Bury Dr. Eden Prairie, MN 55346

sales@edgefallprotection.com; 844-314-1374

Components: All system connectors, cables and bolts shall comply with all design standards listed section 1.3

Standard Equipment Specifications:

Length: [Runway length is determined by length of a specific area requiring coverage.  Runways are supported on standard maximum support centers of 20, 25, 30, 40, or 50 feet depending on capacity.]

Width: [Users can work safely within a 30 degree cone of the centerline of the runway or HLL system.  EDGE standard design provides a standard bridge overhang of 12 inches on each end beyond the runway centerline.]

Capacity: [The maximum weight of the application should not exceed design weight.  Load weights should be predetermined to avoid buying unnecessary capacity.]

Height: [Raising trolley and system height allows for greater lateral movement of user.]

The Overhead Fall Protection System(s) shall be attached to the supporting structure with appropriate fasteners. The fasteners shall be designed to support a load on the fall protection system of 2 times the maximum design load without failure.

Provide all designed sub-system items per Section 1.5 (B) of this document.

NOTE TO SPECIFIER
Select the required roof surface(s) from the following paragraphs and delete the ones not required.

Supporting Structure

Structural Components shall comply with the applicable standards:

Structural Steel: ASTM A36

Structural Tubing: ASTM A500 Grade B

Structural Bars, Plates, Shapes, and Sheet Piling: ASTM A6

Piping: ASTM A53

Fasteners shall comply with the applicable standards:

Structural Bolts: ASTM A325

Alloy-Steel and Stainless Steel Bolting: ASTM A193

Flashing and Sealing Material shall comply with the applicable standards:

Material substitutions shall be better than or equal to the requirements found in this section.

Fabrication

Fabricate work true to dimension, square, plumb, level, and free from distortion or defects detrimental to performance.

Coordinate the system with supporting structure.

Welding:

AWS D 1.1 as applicable.

If Butt welds are used, then surplus welding material is to be ground off to ensure exposed surfaces are smooth.  Fillet welds shall not be ground.

Slag is to be removed from the materials surface.

NOTE TO SPECIFIER
Delete any sections below not relevant to this project; add others as required.

6	Finishes

Hot Dipped Galvanizing: Comply with ASTM A123.

Powder Coat:

EXECUTION

EXAMINATION

Do not begin installation until ladders have been properly prepared and attached to substrate or structure.

If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

PREPARATION

Clean surfaces thoroughly prior to installation.

INSTALLATION

Install in accordance with manufacturer's instructions.

PROTECTION

Protect installed products until completion of project.

Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION